## Alarms
Name | PLC tag | DataType | Length | Address
Alarms_Alarm_main_out | Alarms.Alarm_main_out | Bool | 1 | %DB101.DBX0.1
Alarms_Alarm_main_critical_out | Alarms.Alarm_main_critical_out | Bool | 1 | %DB101.DBX0.2
Alarm_Temp_Corridor_Output | Alarms.CORRIDOR.Alarm_Output_Temp | Bool | 1 | %DB101.DBX2.0
Alarm_Temp_Corridor_Output_Critical | Alarms.CORRIDOR.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX2.1
Alarm_Temp_Janitor_Output | Alarms.JANITOR.Alarm_Output_Temp | Bool | 1 | %DB101.DBX4.0
Alarm_Temp_Janitor_Output_Critical | Alarms.JANITOR.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX4.1
Alarm_Temp_DryGanulation_Output | Alarms."DRY GANULATION".Alarm_Output_Temp | Bool | 1 | %DB101.DBX6.0
Alarm_Temp_DryGanulation_Output_Critical | Alarms."DRY GANULATION".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX6.1
Alarm_Temp_DryGanulationMenEntry_Output | Alarms."DRY GANULATION MEN ENTRYDRY GANULATION MEN ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX8.0
Alarm_Temp_DryGanulationMenEntry_Output_Critical | Alarms."DRY GANULATION MEN ENTRYDRY GANULATION MEN ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX8.1
Alarm_Temp_DryGanulationMaterialEntry_Output | Alarms."DRY GANULATION MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX10.0
Alarm_Temp_DryGanulationMaterialEntry_Output_Critical | Alarms."DRY GANULATION MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX10.1
Alarm_Temp_Coating2_Output | Alarms."COATING 2".Alarm_Output_Temp | Bool | 1 | %DB101.DBX12.0
Alarm_Temp_Coating2_Output_Critical | Alarms."COATING 2".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX12.1
Alarm_Temp_Coating2MenEntry_Output | Alarms."COATING 2 MEN ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX14.0
Alarm_Temp_Coating2MenEntry_Output_Critical | Alarms."COATING 2 MEN ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX14.1
Alarm_Temp_Coating2MaterialEntry_Output | Alarms."COATING 2 MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX16.0
Alarm_Temp_Coating2MaterialEntry_Output_Critical | Alarms."COATING 2 MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX16.1
Alarm_Temp_TabletInspection_Output | Alarms."TABLET INSPECTION".Alarm_Output_Temp | Bool | 1 | %DB101.DBX18.0
Alarm_Temp_TabletInspection_Output_Critical | Alarms."TABLET INSPECTION".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX18.1
Alarm_Temp_TabletInspectionEntry_Output | Alarms."TABLET INSPECTION ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX20.0
Alarm_Temp_TabletInspectionEntry_Output_Critical | Alarms."TABLET INSPECTION ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX20.1
Alarm_Temp_HoldArea_Output | Alarms."HOLD AREA".Alarm_Output_Temp | Bool | 1 | %DB101.DBX22.0
Alarm_Temp_HoldArea_Output_Critical | Alarms."HOLD AREA".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX22.1
Alarm_Temp_CleanedBin_Output | Alarms."CLEANED BIN".Alarm_Output_Temp | Bool | 1 | %DB101.DBX24.0
Alarm_Temp_CleanedBin_Output_Critical | Alarms."CLEANED BIN".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX24.1
Alarm_Temp_BinWash_Output | Alarms."BIN WASH".Alarm_Output_Temp | Bool | 1 | %DB101.DBX26.0
Alarm_Temp_BinWash_Output_Critical | Alarms."BIN WASH".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX26.1
Alarm_Temp_UnCleanedBin_Output | Alarms."UN CLEANED BIN".Alarm_Output_Temp | Bool | 1 | %DB101.DBX28.0
Alarm_Temp_UnCleanedBin_Output_Critical | Alarms."UN CLEANED BIN".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX28.1
Alarm_Temp_Ipqc_Output | Alarms.IPQC.Alarm_Output_Temp | Bool | 1 | %DB101.DBX30.0
Alarm_Temp_Ipqc_Output_Critical | Alarms.IPQC.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX30.1
Alarm_Temp_ProductionOffice_Output | Alarms."PRODUCTION OFFICE".Alarm_Output_Temp | Bool | 1 | %DB101.DBX32.0
Alarm_Temp_ProductionOffice_Output_Critical | Alarms."PRODUCTION OFFICE".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX32.1
Alarm_Temp_MaterialEntry_Output | Alarms."MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX34.0
Alarm_Temp_MaterialEntry_Output_Critical | Alarms."MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX34.1
Alarm_Temp_Granulation_Output | Alarms.GRANULATION.Alarm_Output_Temp | Bool | 1 | %DB101.DBX36.0
Alarm_Temp_Granulation_Output_Critical | Alarms.GRANULATION.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX36.1
Alarm_Temp_GranulationMenEntry_Output | Alarms."GRANULATION MEN ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX38.0
Alarm_Temp_GranulationMenEntry_Output_Critical | Alarms."GRANULATION MEN ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX38.1
Alarm_Temp_GranulationMaterialEntry_Output | Alarms."GRANULATION MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX40.0
Alarm_Temp_GranulationMaterialEntry_Output_Critical | Alarms."GRANULATION MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX40.1
Alarm_Temp_VidServiceArea_Output | Alarms."VID SERVICE AREA".Alarm_Output_Temp | Bool | 1 | %DB101.DBX42.0
Alarm_Temp_VidServiceArea_Output_Critical | Alarms."VID SERVICE AREA".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX42.1
Alarm_Temp_Blending_Output | Alarms.BLENDING.Alarm_Output_Temp | Bool | 1 | %DB101.DBX44.0
Alarm_Temp_Blending_Output_Critical | Alarms.BLENDING.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX44.1
Alarm_Temp_BlendingMenEntry_Output | Alarms."BLENDING MEN ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX46.0
Alarm_Temp_BlendingMenEntry_Output_Critical | Alarms."BLENDING MEN ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX46.1
Alarm_Temp_BlendingMaterialEntry_Output | Alarms."BLENDING MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX48.0
Alarm_Temp_BlendingMaterialEntry_Output_Critical | Alarms."BLENDING MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX48.1
Alarm_Temp_CompressionMaterialEntry_Output | Alarms."COMPRESSION MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX50.0
Alarm_Temp_CompressionMaterialEntry_Output_Critical | Alarms."COMPRESSION MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX50.1
Alarm_Temp_Compression_Output | Alarms.COMPRESSION.Alarm_Output_Temp | Bool | 1 | %DB101.DBX52.0
Alarm_Temp_Compression_Output_Critical | Alarms.COMPRESSION.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX52.1
Alarm_Temp_CompressionMenEntry_Output | Alarms."COMPRESSION MEN ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX54.0
Alarm_Temp_CompressionMenEntry_Output_Critical | Alarms."COMPRESSION MEN ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX54.1
Alarm_Temp_Coating1_Output | Alarms."COATING 1".Alarm_Output_Temp | Bool | 1 | %DB101.DBX56.0
Alarm_Temp_Coating1_Output_Critical | Alarms."COATING 1".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX56.1
Alarm_Temp_Coating1MenEntry_Output | Alarms."COATING 1 MEN ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX58.0
Alarm_Temp_Coating1MenEntry_Output_Critical | Alarms."COATING 1 MEN ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX58.1
Alarm_Temp_Coating1MaterialEntry_Output | Alarms."COATING 1 MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX60.0
Alarm_Temp_Coating1MaterialEntry_Output_Critical | Alarms."COATING 1 MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX60.1
Alarm_Temp_ToolRoom_Output | Alarms."TOOL ROOM".Alarm_Output_Temp | Bool | 1 | %DB101.DBX62.0
Alarm_Temp_ToolRoom_Output_Critical | Alarms."TOOL ROOM".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX62.1
Alarm_Temp_Wip_Output | Alarms.WIP.Alarm_Output_Temp | Bool | 1 | %DB101.DBX64.0
Alarm_Temp_Wip_Output_Critical | Alarms.WIP.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX64.1
Alarm_Temp_CapsuleFillingMaterialEntry_Output | Alarms."CAPSULE FILLING MATERIAL ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX66.0
Alarm_Temp_CapsuleFillingMaterialEntry_Output_Critical | Alarms."CAPSULE FILLING MATERIAL ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX66.1
Alarm_Temp_CapsuleFilling_Output | Alarms."CAPSULE FILLING".Alarm_Output_Temp | Bool | 1 | %DB101.DBX68.0
Alarm_Temp_CapsuleFilling_Output_Critical | Alarms."CAPSULE FILLING".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX68.1
Alarm_Temp_CapsuleFillingMenEntry_Output | Alarms."CAPSULE FILLING MEN ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX70.0
Alarm_Temp_CapsuleFillingMenEntry_Output_Critical | Alarms."CAPSULE FILLING MEN ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX70.1
Alarm_Temp_Osf_Output | Alarms.OSF.Alarm_Output_Temp | Bool | 1 | %DB101.DBX72.0
Alarm_Temp_Osf_Output_Critical | Alarms.OSF.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX72.1
Alarm_Temp_OsfEntry_Output | Alarms."OSF ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX74.0
Alarm_Temp_OsfEntry_Output_Critical | Alarms."OSF ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX74.1
Alarm_Temp_BlisterPacking_Output | Alarms."BLISTER PACKING".Alarm_Output_Temp | Bool | 1 | %DB101.DBX76.0
Alarm_Temp_BlisterPacking_Output_Critical | Alarms."BLISTER PACKING".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX76.1
Alarm_Temp_BlisterPackingEntry_Output | Alarms."BLISTER PACKING ENTRY".Alarm_Output_Temp | Bool | 1 | %DB101.DBX78.0
Alarm_Temp_BlisterPackingEntry_Output_Critical | Alarms."BLISTER PACKING ENTRY".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX78.1
Alarm_Temp_Corridor1_Output | Alarms."CORRIDOR 1".Alarm_Output_Temp | Bool | 1 | %DB101.DBX80.0
Alarm_Temp_Corridor1_Output_Critical | Alarms."CORRIDOR 1".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX80.1
Alarm_Temp_EntryPacking_Output | Alarms."ENTRY PACKING".Alarm_Output_Temp | Bool | 1 | %DB101.DBX82.0
Alarm_Temp_EntryPacking_Output_Critical | Alarms."ENTRY PACKING".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX82.1
Alarm_Temp_BulkPacking_Output | Alarms."BULK PACKING".Alarm_Output_Temp | Bool | 1 | %DB101.DBX84.0
Alarm_Temp_BulkPacking_Output_Critical | Alarms."BULK PACKING".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX84.1
Alarm_Temp_R&D_SecondaryPacking_Output | Alarms.R&D_Secondary_Packing.Alarm_Output_Temp | Bool | 1 | %DB101.DBX86.0
Alarm_Temp_R&D_SecondaryPacking_Output_Critical | Alarms.R&D_Secondary_Packing.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX86.1
Alarm_Temp_BlisterPacking1_Output | Alarms."BLISTER PACKING_1".Alarm_Output_Temp | Bool | 1 | %DB101.DBX88.0
Alarm_Temp_BlisterPacking1_Output_Critical | Alarms."BLISTER PACKING_1".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX88.1
Alarm_Temp_Corridor2_Output | Alarms."CORRIDOR 2".Alarm_Output_Temp | Bool | 1 | %DB101.DBX90.0
Alarm_Temp_Corridor2_Output_Critical | Alarms."CORRIDOR 2".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX90.1
Alarm_Temp_CapsuleFilling1_Output | Alarms."CAPSULE FILLING_1".Alarm_Output_Temp | Bool | 1 | %DB101.DBX92.0
Alarm_Temp_CapsuleFilling1_Output_Critical | Alarms."CAPSULE FILLING_1".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX92.1
Alarm_Temp_Coating_Output | Alarms.COATING.Alarm_Output_Temp | Bool | 1 | %DB101.DBX94.0
Alarm_Temp_Coating_Output_Critical | Alarms.COATING.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX94.1
Alarm_Temp_Compression1_Output | Alarms.COMPRESSION_1.Alarm_Output_Temp | Bool | 1 | %DB101.DBX96.0
Alarm_Temp_Compression1_Output_Critical | Alarms.COMPRESSION_1.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX96.1
Alarm_Temp_DryGranulation_R&D_Output | Alarms."DRY GRANULATION_R&D".Alarm_Output_Temp | Bool | 1 | %DB101.DBX98.0
Alarm_Temp_DryGranulation_R&D_Output_Critical | Alarms."DRY GRANULATION_R&D".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX98.1
Alarm_Temp_Granulation/Blending_Output | Alarms.GRANULATION/BLENDING.Alarm_Output_Temp | Bool | 1 | %DB101.DBX100.0
Alarm_Temp_Granulation/Blending_Output_Critical | Alarms.GRANULATION/BLENDING.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX100.1
Alarm_Temp_EntryGranulation_Output | Alarms."ENTRY GRANULATION".Alarm_Output_Temp | Bool | 1 | %DB101.DBX102.0
Alarm_Temp_EntryGranulation_Output_Critical | Alarms."ENTRY GRANULATION".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX102.1
Alarm_Temp_WashArea_Output | Alarms.Wash_Area.Alarm_Output_Temp | Bool | 1 | %DB101.DBX104.0
Alarm_Temp_WashArea_Output_Critical | Alarms.Wash_Area.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX104.1
Alarm_Temp_SecondaryChange_Output | Alarms.Secondary_Change.Alarm_Output_Temp | Bool | 1 | %DB101.DBX106.0
Alarm_Temp_SecondaryChange_Output_Critical | Alarms.Secondary_Change.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX106.1
Alarm_Temp_AirShower_Output | Alarms.Air_Shower.Alarm_Output_Temp | Bool | 1 | %DB101.DBX108.0
Alarm_Temp_AirShower_Output_Critical | Alarms.Air_Shower.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX108.1
Alarm_Temp_Passage_Output | Alarms.Passage.Alarm_Output_Temp | Bool | 1 | %DB101.DBX110.0
Alarm_Temp_Passage_Output_Critical | Alarms.Passage.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX110.1
Alarm_Temp_FinishGoodStore_Output | Alarms.Finish_Good_Store.Alarm_Output_Temp | Bool | 1 | %DB101.DBX112.0
Alarm_Temp_FinishGoodStore_Output_Critical | Alarms.Finish_Good_Store.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX112.1
Alarm_Temp_PackingRoomTrackTrace_Output | Alarms.Packing_Room_Track_Trace.Alarm_Output_Temp | Bool | 1 | %DB101.DBX114.0
Alarm_Temp_PackingRoomTrackTrace_Output_Critical | Alarms.Packing_Room_Track_Trace.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX114.1
Alarm_Temp_FgOut_Output | Alarms.FG_Out.Alarm_Output_Temp | Bool | 1 | %DB101.DBX116.0
Alarm_Temp_FgOut_Output_Critical | Alarms.FG_Out.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX116.1
Alarm_Temp_M-AlG063_Output | Alarms.M-AL_G063.Alarm_Output_Temp | Bool | 1 | %DB101.DBX118.0
Alarm_Temp_M-AlG063_Output_Critical | Alarms.M-AL_G063.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX118.1
Alarm_Temp_M-AlG064_Output | Alarms.M-AL_G064.Alarm_Output_Temp | Bool | 1 | %DB101.DBX120.0
Alarm_Temp_M-AlG064_Output_Critical | Alarms.M-AL_G064.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX120.1
Alarm_Temp_EmptyCapsuleStorageArea_Output | Alarms.Empty_Capsule_Storage_Area.Alarm_Output_Temp | Bool | 1 | %DB101.DBX122.0
Alarm_Temp_EmptyCapsuleStorageArea_Output_Critical | Alarms.Empty_Capsule_Storage_Area.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX122.1
Alarm_Temp_SecondaryPacking_Output | Alarms.Secondary_Packing.Alarm_Output_Temp | Bool | 1 | %DB101.DBX124.0
Alarm_Temp_SecondaryPacking_Output_Critical | Alarms.Secondary_Packing.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX124.1
Alarm_Temp_TrayDrayerVtd_Output | Alarms.Tray_Drayer_vtd.Alarm_Output_Temp | Bool | 1 | %DB101.DBX126.0
Alarm_Temp_TrayDrayerVtd_Output_Critical | Alarms.Tray_Drayer_vtd.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX126.1
Alarm_Temp_1.5mCorridor_Output | Alarms."1.5M_Corridor".Alarm_Output_Temp | Bool | 1 | %DB101.DBX128.0
Alarm_Temp_1.5mCorridor_Output_Critical | Alarms."1.5M_Corridor".Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX128.1
Alarm_Temp_CapAndBungStore_Output | Alarms.Cap_and_Bung_Store.Alarm_Output_Temp | Bool | 1 | %DB101.DBX130.0
Alarm_Temp_CapAndBungStore_Output_Critical | Alarms.Cap_and_Bung_Store.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX130.1
Alarm_Temp_CorridorOther_Output | Alarms.Corridor_Other.Alarm_Output_Temp | Bool | 1 | %DB101.DBX132.0
Alarm_Temp_CorridorOther_Output_Critical | Alarms.Corridor_Other.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX132.1
Alarm_Temp_SampelingAndDispensingArea_Output | Alarms.Sampeling_and_Dispensing_Area.Alarm_Output_Temp | Bool | 1 | %DB101.DBX134.0
Alarm_Temp_SampelingAndDispensingArea_Output_Critical | Alarms.Sampeling_and_Dispensing_Area.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX134.1
Alarm_Temp_DispensedMatHoldArea_Output | Alarms.Dispensed_Mat_Hold_Area.Alarm_Output_Temp | Bool | 1 | %DB101.DBX136.0
Alarm_Temp_DispensedMatHoldArea_Output_Critical | Alarms.Dispensed_Mat_Hold_Area.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX136.1
Alarm_Temp_DispensingMaterialEntry_Output | Alarms.Dispensing_Material_Entry.Alarm_Output_Temp | Bool | 1 | %DB101.DBX138.0
Alarm_Temp_DispensingMaterialEntry_Output_Critical | Alarms.Dispensing_Material_Entry.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX138.1
Alarm_Temp_DispensingMenEntry_Output | Alarms.Dispensing_Men_Entry.Alarm_Output_Temp | Bool | 1 | %DB101.DBX140.0
Alarm_Temp_DispensingMenEntry_Output_Critical | Alarms.Dispensing_Men_Entry.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX140.1
Alarm_Temp_M-Al163_Output | Alarms.M-AL_163.Alarm_Output_Temp | Bool | 1 | %DB101.DBX142.0
Alarm_Temp_M-Al163_Output_Critical | Alarms.M-AL_163.Alarm_Critical_Out_Temp | Bool | 1 | %DB101.DBX142.1
Alarm_RH_Corridor_Output | Alarms.CORRIDOR.Alarm_Output_RH | Bool | 1 | %DB101.DBX2.2
Alarm_RH_Corridor_Output_Critical | Alarms.CORRIDOR.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX2.3
Alarm_RH_Janitor_Output | Alarms.JANITOR.Alarm_Output_RH | Bool | 1 | %DB101.DBX4.2
Alarm_RH_Janitor_Output_Critical | Alarms.JANITOR.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX4.3
Alarm_RH_DryGanulation_Output | Alarms."DRY GANULATION".Alarm_Output_RH | Bool | 1 | %DB101.DBX6.2
Alarm_RH_DryGanulation_Output_Critical | Alarms."DRY GANULATION".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX6.3
Alarm_RH_DryGanulationMenEntry_Output | Alarms."DRY GANULATION MEN ENTRYDRY GANULATION MEN ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX8.2
Alarm_RH_DryGanulationMenEntry_Output_Critical | Alarms."DRY GANULATION MEN ENTRYDRY GANULATION MEN ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX8.3
Alarm_RH_DryGanulationMaterialEntry_Output | Alarms."DRY GANULATION MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX10.2
Alarm_RH_DryGanulationMaterialEntry_Output_Critical | Alarms."DRY GANULATION MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX10.3
Alarm_RH_Coating2_Output | Alarms."COATING 2".Alarm_Output_RH | Bool | 1 | %DB101.DBX12.2
Alarm_RH_Coating2_Output_Critical | Alarms."COATING 2".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX12.3
Alarm_RH_Coating2MenEntry_Output | Alarms."COATING 2 MEN ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX14.2
Alarm_RH_Coating2MenEntry_Output_Critical | Alarms."COATING 2 MEN ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX14.3
Alarm_RH_Coating2MaterialEntry_Output | Alarms."COATING 2 MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX16.2
Alarm_RH_Coating2MaterialEntry_Output_Critical | Alarms."COATING 2 MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX16.3
Alarm_RH_TabletInspection_Output | Alarms."TABLET INSPECTION".Alarm_Output_RH | Bool | 1 | %DB101.DBX18.2
Alarm_RH_TabletInspection_Output_Critical | Alarms."TABLET INSPECTION".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX18.3
Alarm_RH_TabletInspectionEntry_Output | Alarms."TABLET INSPECTION ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX20.2
Alarm_RH_TabletInspectionEntry_Output_Critical | Alarms."TABLET INSPECTION ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX20.3
Alarm_RH_HoldArea_Output | Alarms."HOLD AREA".Alarm_Output_RH | Bool | 1 | %DB101.DBX22.2
Alarm_RH_HoldArea_Output_Critical | Alarms."HOLD AREA".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX22.3
Alarm_RH_CleanedBin_Output | Alarms."CLEANED BIN".Alarm_Output_RH | Bool | 1 | %DB101.DBX24.2
Alarm_RH_CleanedBin_Output_Critical | Alarms."CLEANED BIN".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX24.3
Alarm_RH_BinWash_Output | Alarms."BIN WASH".Alarm_Output_RH | Bool | 1 | %DB101.DBX26.2
Alarm_RH_BinWash_Output_Critical | Alarms."BIN WASH".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX26.3
Alarm_RH_UnCleanedBin_Output | Alarms."UN CLEANED BIN".Alarm_Output_RH | Bool | 1 | %DB101.DBX28.2
Alarm_RH_UnCleanedBin_Output_Critical | Alarms."UN CLEANED BIN".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX28.3
Alarm_RH_Ipqc_Output | Alarms.IPQC.Alarm_Output_RH | Bool | 1 | %DB101.DBX30.2
Alarm_RH_Ipqc_Output_Critical | Alarms.IPQC.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX30.3
Alarm_RH_ProductionOffice_Output | Alarms."PRODUCTION OFFICE".Alarm_Output_RH | Bool | 1 | %DB101.DBX32.2
Alarm_RH_ProductionOffice_Output_Critical | Alarms."PRODUCTION OFFICE".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX32.3
Alarm_RH_MaterialEntry_Output | Alarms."MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX34.2
Alarm_RH_MaterialEntry_Output_Critical | Alarms."MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX34.3
Alarm_RH_Granulation_Output | Alarms.GRANULATION.Alarm_Output_RH | Bool | 1 | %DB101.DBX36.2
Alarm_RH_Granulation_Output_Critical | Alarms.GRANULATION.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX36.3
Alarm_RH_GranulationMenEntry_Output | Alarms."GRANULATION MEN ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX38.2
Alarm_RH_GranulationMenEntry_Output_Critical | Alarms."GRANULATION MEN ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX38.3
Alarm_RH_GranulationMaterialEntry_Output | Alarms."GRANULATION MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX40.2
Alarm_RH_GranulationMaterialEntry_Output_Critical | Alarms."GRANULATION MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX40.3
Alarm_RH_VidServiceArea_Output | Alarms."VID SERVICE AREA".Alarm_Output_RH | Bool | 1 | %DB101.DBX42.2
Alarm_RH_VidServiceArea_Output_Critical | Alarms."VID SERVICE AREA".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX42.3
Alarm_RH_Blending_Output | Alarms.BLENDING.Alarm_Output_RH | Bool | 1 | %DB101.DBX44.2
Alarm_RH_Blending_Output_Critical | Alarms.BLENDING.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX44.3
Alarm_RH_BlendingMenEntry_Output | Alarms."BLENDING MEN ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX46.2
Alarm_RH_BlendingMenEntry_Output_Critical | Alarms."BLENDING MEN ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX46.3
Alarm_RH_BlendingMaterialEntry_Output | Alarms."BLENDING MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX48.2
Alarm_RH_BlendingMaterialEntry_Output_Critical | Alarms."BLENDING MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX48.3
Alarm_RH_CompressionMaterialEntry_Output | Alarms."COMPRESSION MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX50.2
Alarm_RH_CompressionMaterialEntry_Output_Critical | Alarms."COMPRESSION MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX50.3
Alarm_RH_Compression_Output | Alarms.COMPRESSION.Alarm_Output_RH | Bool | 1 | %DB101.DBX52.2
Alarm_RH_Compression_Output_Critical | Alarms.COMPRESSION.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX52.3
Alarm_RH_CompressionMenEntry_Output | Alarms."COMPRESSION MEN ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX54.2
Alarm_RH_CompressionMenEntry_Output_Critical | Alarms."COMPRESSION MEN ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX54.3
Alarm_RH_Coating1_Output | Alarms."COATING 1".Alarm_Output_RH | Bool | 1 | %DB101.DBX56.2
Alarm_RH_Coating1_Output_Critical | Alarms."COATING 1".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX56.3
Alarm_RH_Coating1MenEntry_Output | Alarms."COATING 1 MEN ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX58.2
Alarm_RH_Coating1MenEntry_Output_Critical | Alarms."COATING 1 MEN ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX58.3
Alarm_RH_Coating1MaterialEntry_Output | Alarms."COATING 1 MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX60.2
Alarm_RH_Coating1MaterialEntry_Output_Critical | Alarms."COATING 1 MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX60.3
Alarm_RH_ToolRoom_Output | Alarms."TOOL ROOM".Alarm_Output_RH | Bool | 1 | %DB101.DBX62.2
Alarm_RH_ToolRoom_Output_Critical | Alarms."TOOL ROOM".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX62.3
Alarm_RH_Wip_Output | Alarms.WIP.Alarm_Output_RH | Bool | 1 | %DB101.DBX64.2
Alarm_RH_Wip_Output_Critical | Alarms.WIP.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX64.3
Alarm_RH_CapsuleFillingMaterialEntry_Output | Alarms."CAPSULE FILLING MATERIAL ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX66.2
Alarm_RH_CapsuleFillingMaterialEntry_Output_Critical | Alarms."CAPSULE FILLING MATERIAL ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX66.3
Alarm_RH_CapsuleFilling_Output | Alarms."CAPSULE FILLING".Alarm_Output_RH | Bool | 1 | %DB101.DBX68.2
Alarm_RH_CapsuleFilling_Output_Critical | Alarms."CAPSULE FILLING".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX68.3
Alarm_RH_CapsuleFillingMenEntry_Output | Alarms."CAPSULE FILLING MEN ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX70.2
Alarm_RH_CapsuleFillingMenEntry_Output_Critical | Alarms."CAPSULE FILLING MEN ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX70.3
Alarm_RH_Osf_Output | Alarms.OSF.Alarm_Output_RH | Bool | 1 | %DB101.DBX72.2
Alarm_RH_Osf_Output_Critical | Alarms.OSF.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX72.3
Alarm_RH_OsfEntry_Output | Alarms."OSF ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX74.2
Alarm_RH_OsfEntry_Output_Critical | Alarms."OSF ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX74.3
Alarm_RH_BlisterPacking_Output | Alarms."BLISTER PACKING".Alarm_Output_RH | Bool | 1 | %DB101.DBX76.2
Alarm_RH_BlisterPacking_Output_Critical | Alarms."BLISTER PACKING".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX76.3
Alarm_RH_BlisterPackingEntry_Output | Alarms."BLISTER PACKING ENTRY".Alarm_Output_RH | Bool | 1 | %DB101.DBX78.2
Alarm_RH_BlisterPackingEntry_Output_Critical | Alarms."BLISTER PACKING ENTRY".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX78.3
Alarm_RH_Corridor1_Output | Alarms."CORRIDOR 1".Alarm_Output_RH | Bool | 1 | %DB101.DBX80.2
Alarm_RH_Corridor1_Output_Critical | Alarms."CORRIDOR 1".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX80.3
Alarm_RH_EntryPacking_Output | Alarms."ENTRY PACKING".Alarm_Output_RH | Bool | 1 | %DB101.DBX82.2
Alarm_RH_EntryPacking_Output_Critical | Alarms."ENTRY PACKING".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX82.3
Alarm_RH_BulkPacking_Output | Alarms."BULK PACKING".Alarm_Output_RH | Bool | 1 | %DB101.DBX84.2
Alarm_RH_BulkPacking_Output_Critical | Alarms."BULK PACKING".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX84.3
Alarm_RH_R&D_SecondaryPacking_Output | Alarms.R&D_Secondary_Packing.Alarm_Output_RH | Bool | 1 | %DB101.DBX86.2
Alarm_RH_R&D_SecondaryPacking_Output_Critical | Alarms.R&D_Secondary_Packing.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX86.3
Alarm_RH_BlisterPacking1_Output | Alarms."BLISTER PACKING_1".Alarm_Output_RH | Bool | 1 | %DB101.DBX88.2
Alarm_RH_BlisterPacking1_Output_Critical | Alarms."BLISTER PACKING_1".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX88.3
Alarm_RH_Corridor2_Output | Alarms."CORRIDOR 2".Alarm_Output_RH | Bool | 1 | %DB101.DBX90.2
Alarm_RH_Corridor2_Output_Critical | Alarms."CORRIDOR 2".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX90.3
Alarm_RH_CapsuleFilling1_Output | Alarms."CAPSULE FILLING_1".Alarm_Output_RH | Bool | 1 | %DB101.DBX92.2
Alarm_RH_CapsuleFilling1_Output_Critical | Alarms."CAPSULE FILLING_1".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX92.3
Alarm_RH_Coating_Output | Alarms.COATING.Alarm_Output_RH | Bool | 1 | %DB101.DBX94.2
Alarm_RH_Coating_Output_Critical | Alarms.COATING.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX94.3
Alarm_RH_Compression1_Output | Alarms.COMPRESSION_1.Alarm_Output_RH | Bool | 1 | %DB101.DBX96.2
Alarm_RH_Compression1_Output_Critical | Alarms.COMPRESSION_1.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX96.3
Alarm_RH_DryGranulation_R&D_Output | Alarms."DRY GRANULATION_R&D".Alarm_Output_RH | Bool | 1 | %DB101.DBX98.2
Alarm_RH_DryGranulation_R&D_Output_Critical | Alarms."DRY GRANULATION_R&D".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX98.3
Alarm_RH_Granulation/Blending_Output | Alarms.GRANULATION/BLENDING.Alarm_Output_RH | Bool | 1 | %DB101.DBX100.2
Alarm_RH_Granulation/Blending_Output_Critical | Alarms.GRANULATION/BLENDING.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX100.3
Alarm_RH_EntryGranulation_Output | Alarms."ENTRY GRANULATION".Alarm_Output_RH | Bool | 1 | %DB101.DBX102.2
Alarm_RH_EntryGranulation_Output_Critical | Alarms."ENTRY GRANULATION".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX102.3
Alarm_RH_WashArea_Output | Alarms.Wash_Area.Alarm_Output_RH | Bool | 1 | %DB101.DBX104.2
Alarm_RH_WashArea_Output_Critical | Alarms.Wash_Area.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX104.3
Alarm_RH_SecondaryChange_Output | Alarms.Secondary_Change.Alarm_Output_RH | Bool | 1 | %DB101.DBX106.2
Alarm_RH_SecondaryChange_Output_Critical | Alarms.Secondary_Change.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX106.3
Alarm_RH_AirShower_Output | Alarms.Air_Shower.Alarm_Output_RH | Bool | 1 | %DB101.DBX108.2
Alarm_RH_AirShower_Output_Critical | Alarms.Air_Shower.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX108.3
Alarm_RH_Passage_Output | Alarms.Passage.Alarm_Output_RH | Bool | 1 | %DB101.DBX110.2
Alarm_RH_Passage_Output_Critical | Alarms.Passage.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX110.3
Alarm_RH_FinishGoodStore_Output | Alarms.Finish_Good_Store.Alarm_Output_RH | Bool | 1 | %DB101.DBX112.2
Alarm_RH_FinishGoodStore_Output_Critical | Alarms.Finish_Good_Store.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX112.3
Alarm_RH_PackingRoomTrackTrace_Output | Alarms.Packing_Room_Track_Trace.Alarm_Output_RH | Bool | 1 | %DB101.DBX114.2
Alarm_RH_PackingRoomTrackTrace_Output_Critical | Alarms.Packing_Room_Track_Trace.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX114.3
Alarm_RH_FgOut_Output | Alarms.FG_Out.Alarm_Output_RH | Bool | 1 | %DB101.DBX116.2
Alarm_RH_FgOut_Output_Critical | Alarms.FG_Out.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX116.3
Alarm_RH_M-AlG063_Output | Alarms.M-AL_G063.Alarm_Output_RH | Bool | 1 | %DB101.DBX118.2
Alarm_RH_M-AlG063_Output_Critical | Alarms.M-AL_G063.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX118.3
Alarm_RH_M-AlG064_Output | Alarms.M-AL_G064.Alarm_Output_RH | Bool | 1 | %DB101.DBX120.2
Alarm_RH_M-AlG064_Output_Critical | Alarms.M-AL_G064.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX120.3
Alarm_RH_EmptyCapsuleStorageArea_Output | Alarms.Empty_Capsule_Storage_Area.Alarm_Output_RH | Bool | 1 | %DB101.DBX122.2
Alarm_RH_EmptyCapsuleStorageArea_Output_Critical | Alarms.Empty_Capsule_Storage_Area.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX122.3
Alarm_RH_SecondaryPacking_Output | Alarms.Secondary_Packing.Alarm_Output_RH | Bool | 1 | %DB101.DBX124.2
Alarm_RH_SecondaryPacking_Output_Critical | Alarms.Secondary_Packing.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX124.3
Alarm_RH_TrayDrayerVtd_Output | Alarms.Tray_Drayer_vtd.Alarm_Output_RH | Bool | 1 | %DB101.DBX126.2
Alarm_RH_TrayDrayerVtd_Output_Critical | Alarms.Tray_Drayer_vtd.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX126.3
Alarm_RH_1.5mCorridor_Output | Alarms."1.5M_Corridor".Alarm_Output_RH | Bool | 1 | %DB101.DBX128.2
Alarm_RH_1.5mCorridor_Output_Critical | Alarms."1.5M_Corridor".Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX128.3
Alarm_RH_CapAndBungStore_Output | Alarms.Cap_and_Bung_Store.Alarm_Output_RH | Bool | 1 | %DB101.DBX130.2
Alarm_RH_CapAndBungStore_Output_Critical | Alarms.Cap_and_Bung_Store.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX130.3
Alarm_RH_CorridorOther_Output | Alarms.Corridor_Other.Alarm_Output_RH | Bool | 1 | %DB101.DBX132.2
Alarm_RH_CorridorOther_Output_Critical | Alarms.Corridor_Other.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX132.3
Alarm_RH_SampelingAndDispensingArea_Output | Alarms.Sampeling_and_Dispensing_Area.Alarm_Output_RH | Bool | 1 | %DB101.DBX134.2
Alarm_RH_SampelingAndDispensingArea_Output_Critical | Alarms.Sampeling_and_Dispensing_Area.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX134.3
Alarm_RH_DispensedMatHoldArea_Output | Alarms.Dispensed_Mat_Hold_Area.Alarm_Output_RH | Bool | 1 | %DB101.DBX136.2
Alarm_RH_DispensedMatHoldArea_Output_Critical | Alarms.Dispensed_Mat_Hold_Area.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX136.3
Alarm_RH_DispensingMaterialEntry_Output | Alarms.Dispensing_Material_Entry.Alarm_Output_RH | Bool | 1 | %DB101.DBX138.2
Alarm_RH_DispensingMaterialEntry_Output_Critical | Alarms.Dispensing_Material_Entry.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX138.3
Alarm_RH_DispensingMenEntry_Output | Alarms.Dispensing_Men_Entry.Alarm_Output_RH | Bool | 1 | %DB101.DBX140.2
Alarm_RH_DispensingMenEntry_Output_Critical | Alarms.Dispensing_Men_Entry.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX140.3
Alarm_RH_M-Al163_Output | Alarms.M-AL_163.Alarm_Output_RH | Bool | 1 | %DB101.DBX142.2
Alarm_RH_M-Al163_Output_Critical | Alarms.M-AL_163.Alarm_Critical_Out_RH | Bool | 1 | %DB101.DBX142.3
UserLogging | Python_UserLogging.UserLog | String | 254 | %DB310.DBX0.0

## Monitor
Name | Room No | Data | DB | Data type | Offset
Corridor | G024 | Temperature | DB1 | Real | 0
Janitor | G027 | Temperature | DB1 | Real | 4
DryGanulation_Dply | G030 | Temperature | DB1 | Real | 8
DryGanulation_MatEntry | G029 | Temperature | DB1 | Real | 12
DryGanulation_MenEntry | G028 | Temperature | DB1 | Real | 16
Coating2_Dply | G037 | Temperature | DB1 | Real | 20
Coating2_MatEntry | G036 | Temperature | DB1 | Real | 24
Coating2_MenEntry | G035 | Temperature | DB1 | Real | 28
TabInspec_Dply | G042 | Temperature | DB1 | Real | 32
TabInspec_Entry | G041 | Temperature | DB1 | Real | 36
HoldArea | G043 | Temperature | DB1 | Real | 40
CleanedBin | G049 | Temperature | DB1 | Real | 44
BinWash | G050 | Temperature | DB1 | Real | 48
UnCleanedBin | G051 | Temperature | DB1 | Real | 52
IPQC | G057 | Temperature | DB1 | Real | 56
ProductrionOffice | G058 | Temperature | DB1 | Real | 60
MaterialEntry | G059 | Temperature | DB1 | Real | 64
Granulation_Dply | G054 | Temperature | DB1 | Real | 68
Granulation_MenEntry | G053 | Temperature | DB1 | Real | 72
Granulation_MatEntry | G052 | Temperature | DB1 | Real | 76
VTD | G048 | Temperature | DB1 | Real | 80
Blending_Dply | G046 | Temperature | DB1 | Real | 84
Blending_MenEntry | G045 | Temperature | DB1 | Real | 88
Blending_MatEntry | G044 | Temperature | DB1 | Real | 92
Compression_MatEntry | G039 | Temperature | DB1 | Real | 96
Compression_Dply | G040 | Temperature | DB1 | Real | 100
Compression_MenEntry | G038 | Temperature | DB1 | Real | 104
Coating1_Dply | G034 | Temperature | DB1 | Real | 108
Coating1_MenEntry | G033 | Temperature | DB1 | Real | 112
Coating1_MatEntry | G032 | Temperature | DB1 | Real | 116
Toolroom | G031 | Temperature | DB1 | Real | 120
WIP | G026 | Temperature | DB1 | Real | 124
Cap_MatEntry | G021 | Temperature | DB1 | Real | 128
Cap_Dply | G023 | Temperature | DB1 | Real | 132
Cap_MenEntry | G022 | Temperature | DB1 | Real | 136
OSF_Dply | G018 | Temperature | DB1 | Real | 140
OSF_Entry | G017 | Temperature | DB1 | Real | 144
Blister_Dply | G016 | Temperature | DB1 | Real | 148
Blister_Entry | G015 | Temperature | DB1 | Real | 152
R&D_Corridor1 | F002 | Temperature | DB1 | Real | 156
R&D_Entry_Packing | F013 | Temperature | DB1 | Real | 160
R&D_BulkPacking | F015 | Temperature | DB1 | Real | 164
R&D_SecondryPacking | F016 | Temperature | DB1 | Real | 168
R&D_BlisterPacking | F014 | Temperature | DB1 | Real | 172
R&D_Corridor2 | F011 | Temperature | DB1 | Real | 176
R&D_CapsuleFilling | F012 | Temperature | DB1 | Real | 180
R&D_Coating | F010 | Temperature | DB1 | Real | 184
R&D_Compression | F009 | Temperature | DB1 | Real | 188
R&D_DryGranulation | F008 | Temperature | DB1 | Real | 192
R&D_Granulation/Blending | F007` | Temperature | DB1 | Real | 196
R&D_Entry_Granulation | F006 | Temperature | DB1 | Real | 200
Wash_Area | G055 | Temperature | DB1 | Real | 204
Secondary_Change | G011 | Temperature | DB1 | Real | 208
Air_Shower | G012 | Temperature | DB1 | Real | 212
Passage | G013 | Temperature | DB1 | Real | 216
Finish_Good_Store | G062 | Temperature | DB1 | Real | 220
Packing_Room_Track_Trace | 224 | Temperature | DB1 | Real | 224
FG_Out | G065 | Temperature | DB1 | Real | 228
M-AL_G063 | G063 | Temperature | DB1 | Real | 232
M-AL_G064 | G064 | Temperature | DB1 | Real | 236
Empty_Capsule_Storage_Area | G071 | Temperature | DB1 | Real | 240
Secondary_Packing | F016 | Temperature | DB1 | Real | 244
Tray_Drayer_vtd | G047 | Temperature | DB1 | Real | 248
1.5M_Corridor | G010 | Temperature | DB1 | Real | 252
Cap_and_Bung_Store | 044A | Temperature | DB1 | Real | 256
Corridor_Other | C006 | Temperature | DB1 | Real | 260
R&D_Secondary_Packing | F016 | Temperature | DB1 | Real | 264
Sampeling_and_Dispensing_Area | 165 | Temperature | DB1 | Real | 268
Dispensed_Mat_Hold_Area | 164 | Temperature | DB1 | Real | 272
Dispensing_Material_Entry | 166 | Temperature | DB1 | Real | 276
Dispensing_Men_Entry | 167 | Temperature | DB1 | Real | 280
M-AL_163 | 163 | Temperature | DB1 | Real | 284
Corridor | G024 | Pressure | DB2 | Real | 0
Janitor | G027 | Pressure | DB2 | Real | 4
DryGanulation_Dply | G030 | Pressure | DB2 | Real | 8
DryGanulation_MatEntry | G029 | Pressure | DB2 | Real | 12
DryGanulation_MenEntry | G028 | Pressure | DB2 | Real | 16
Coating2_Dply | G037 | Pressure | DB2 | Real | 20
Coating2_MatEntry | G036 | Pressure | DB2 | Real | 24
Coating2_MenEntry | G035 | Pressure | DB2 | Real | 28
TabInspec_Dply | G042 | Pressure | DB2 | Real | 32
TabInspec_Entry | G041 | Pressure | DB2 | Real | 36
HoldArea | G043 | Pressure | DB2 | Real | 40
CleanedBin | G049 | Pressure | DB2 | Real | 44
BinWash | G050 | Pressure | DB2 | Real | 48
UnCleanedBin | G051 | Pressure | DB2 | Real | 52
IPQC | G057 | Pressure | DB2 | Real | 56
ProductrionOffice | G058 | Pressure | DB2 | Real | 60
MaterialEntry | G059 | Pressure | DB2 | Real | 64
Granulation_Dply | G054 | Pressure | DB2 | Real | 68
Granulation_MenEntry | G053 | Pressure | DB2 | Real | 72
Granulation_MatEntry | G052 | Pressure | DB2 | Real | 76
VTD | G048 | Pressure | DB2 | Real | 80
Blending_Dply | G046 | Pressure | DB2 | Real | 84
Blending_MenEntry | G045 | Pressure | DB2 | Real | 88
Blending_MatEntry | G044 | Pressure | DB2 | Real | 92
Compression_MatEntry | G039 | Pressure | DB2 | Real | 96
Compression_Dply | G040 | Pressure | DB2 | Real | 100
Compression_MenEntry | G038 | Pressure | DB2 | Real | 104
Coating1_Dply | G034 | Pressure | DB2 | Real | 108
Coating1_MenEntry | G033 | Pressure | DB2 | Real | 112
Coating1_MatEntry | G032 | Pressure | DB2 | Real | 116
Toolroom | G031 | Pressure | DB2 | Real | 120
WIP | G026 | Pressure | DB2 | Real | 124
Cap_MatEntry | G021 | Pressure | DB2 | Real | 128
Cap_Dply | G023 | Pressure | DB2 | Real | 132
Cap_MenEntry | G022 | Pressure | DB2 | Real | 136
OSF_Dply | G018 | Pressure | DB2 | Real | 140
OSF_Entry | G017 | Pressure | DB2 | Real | 144
Blister_Dply | G016 | Pressure | DB2 | Real | 148
Blister_Entry | G015 | Pressure | DB2 | Real | 152
R&D_Corridor1 | F002 | Pressure | DB2 | Real | 156
R&D_Entry_Packing | F013 | Pressure | DB2 | Real | 160
R&D_BulkPacking | F015 | Pressure | DB2 | Real | 164
R&D_SecondryPacking | F016 | Pressure | DB2 | Real | 168
R&D_BlisterPacking | F014 | Pressure | DB2 | Real | 172
R&D_Corridor2 | F011 | Pressure | DB2 | Real | 176
R&D_CapsuleFilling | F012 | Pressure | DB2 | Real | 180
R&D_Coating | F010 | Pressure | DB2 | Real | 184
R&D_Compression | F009 | Pressure | DB2 | Real | 188
R&D_DryGranulation | F008 | Pressure | DB2 | Real | 192
R&D_Granulation/Blending | F007` | Pressure | DB2 | Real | 196
R&D_Entry_Granulation | F006 | Pressure | DB2 | Real | 200
Wash_Area | G055 | Pressure | DB2 | Real | 204
Secondary_Change | G011 | Pressure | DB2 | Real | 208
Air_Shower | G012 | Pressure | DB2 | Real | 212
Passage | G013 | Pressure | DB2 | Real | 216
Finish_Good_Store | G062 | Pressure | DB2 | Real | 220
Packing_Room_Track_Trace | 224 | Pressure | DB2 | Real | 224
FG_Out | G065 | Pressure | DB2 | Real | 228
M-AL_G063 | G063 | Pressure | DB2 | Real | 232
M-AL_G064 | G064 | Pressure | DB2 | Real | 236
Empty_Capsule_Storage_Area | G071 | Pressure | DB2 | Real | 240
Secondary_Packing | F016 | Pressure | DB2 | Real | 244
Tray_Drayer_vtd | G047 | Pressure | DB2 | Real | 248
1.5M_Corridor | G010 | Pressure | DB2 | Real | 252
Cap_and_Bung_Store | 044A | Pressure | DB2 | Real | 256
Corridor_Other | C006 | Pressure | DB2 | Real | 260
R&D_Secondary_Packing | F016 | Pressure | DB2 | Real | 264
Sampeling_and_Dispensing_Area | 165 | Pressure | DB2 | Real | 268
Dispensed_Mat_Hold_Area | 164 | Pressure | DB2 | Real | 272
Dispensing_Material_Entry | 166 | Pressure | DB2 | Real | 276
Dispensing_Men_Entry | 167 | Pressure | DB2 | Real | 280
M-AL_163 | 163 | Pressure | DB2 | Real | 284
Corridor | G024 | RH | DB3 | Real | 0
Janitor | G027 | RH | DB3 | Real | 4
DryGanulation_Dply | G030 | RH | DB3 | Real | 8
DryGanulation_MatEntry | G029 | RH | DB3 | Real | 12
DryGanulation_MenEntry | G028 | RH | DB3 | Real | 16
Coating2_Dply | G037 | RH | DB3 | Real | 20
Coating2_MatEntry | G036 | RH | DB3 | Real | 24
Coating2_MenEntry | G035 | RH | DB3 | Real | 28
TabInspec_Dply | G042 | RH | DB3 | Real | 32
TabInspec_Entry | G041 | RH | DB3 | Real | 36
HoldArea | G043 | RH | DB3 | Real | 40
CleanedBin | G049 | RH | DB3 | Real | 44
BinWash | G050 | RH | DB3 | Real | 48
UnCleanedBin | G051 | RH | DB3 | Real | 52
IPQC | G057 | RH | DB3 | Real | 56
ProductrionOffice | G058 | RH | DB3 | Real | 60
MaterialEntry | G059 | RH | DB3 | Real | 64
Granulation_Dply | G054 | RH | DB3 | Real | 68
Granulation_MenEntry | G053 | RH | DB3 | Real | 72
Granulation_MatEntry | G052 | RH | DB3 | Real | 76
VTD | G048 | RH | DB3 | Real | 80
Blending_Dply | G046 | RH | DB3 | Real | 84
Blending_MenEntry | G045 | RH | DB3 | Real | 88
Blending_MatEntry | G044 | RH | DB3 | Real | 92
Compression_MatEntry | G039 | RH | DB3 | Real | 96
Compression_Dply | G040 | RH | DB3 | Real | 100
Compression_MenEntry | G038 | RH | DB3 | Real | 104
Coating1_Dply | G034 | RH | DB3 | Real | 108
Coating1_MenEntry | G033 | RH | DB3 | Real | 112
Coating1_MatEntry | G032 | RH | DB3 | Real | 116
Toolroom | G031 | RH | DB3 | Real | 120
WIP | G026 | RH | DB3 | Real | 124
Cap_MatEntry | G021 | RH | DB3 | Real | 128
Cap_Dply | G023 | RH | DB3 | Real | 132
Cap_MenEntry | G022 | RH | DB3 | Real | 136
OSF_Dply | G018 | RH | DB3 | Real | 140
OSF_Entry | G017 | RH | DB3 | Real | 144
Blister_Dply | G016 | RH | DB3 | Real | 148
Blister_Entry | G015 | RH | DB3 | Real | 152
R&D_Corridor1 | F002 | RH | DB3 | Real | 156
R&D_Entry_Packing | F013 | RH | DB3 | Real | 160
R&D_BulkPacking | F015 | RH | DB3 | Real | 164
R&D_SecondryPacking | F016 | RH | DB3 | Real | 168
R&D_BlisterPacking | F014 | RH | DB3 | Real | 172
R&D_Corridor2 | F011 | RH | DB3 | Real | 176
R&D_CapsuleFilling | F012 | RH | DB3 | Real | 180
R&D_Coating | F010 | RH | DB3 | Real | 184
R&D_Compression | F009 | RH | DB3 | Real | 188
R&D_DryGranulation | F008 | RH | DB3 | Real | 192
R&D_Granulation/Blending | F007` | RH | DB3 | Real | 196
R&D_Entry_Granulation | F006 | RH | DB3 | Real | 200
Wash_Area | G055 | RH | DB3 | Real | 204
Secondary_Change | G011 | RH | DB3 | Real | 208
Air_Shower | G012 | RH | DB3 | Real | 212
Passage | G013 | RH | DB3 | Real | 216
Finish_Good_Store | G062 | RH | DB3 | Real | 220
Packing_Room_Track_Trace | 224 | RH | DB3 | Real | 224
FG_Out | G065 | RH | DB3 | Real | 228
M-AL_G063 | G063 | RH | DB3 | Real | 232
M-AL_G064 | G064 | RH | DB3 | Real | 236
Empty_Capsule_Storage_Area | G071 | RH | DB3 | Real | 240
Secondary_Packing | F016 | RH | DB3 | Real | 244
vtd | G047 | RH | DB3 | Real | 248
1.5M_Corridor | G010 | RH | DB3 | Real | 252
Cap_and_Bung_Store | 044A | RH | DB3 | Real | 256
Corridor_Other | C006 | RH | DB3 | Real | 260
R&D_Secondary_Packing | F016 | RH | DB3 | Real | 264
Sampeling_and_Dispensing_Area | 165 | RH | DB3 | Real | 268
Dispensed_Mat_Hold_Area | 164 | RH | DB3 | Real | 272
Dispensing_Material_Entry | 166 | RH | DB3 | Real | 276
Dispensing_Men_Entry | 167 | RH | DB3 | Real | 280
M-AL_163 | 163 | RH | DB3 | Real | 284

## Name
AHU No. | Room Name | Room No.
AHU - 01 | Granulation | G054
| Material Entry Granulation/VTD | G052
| Men Entry Granulation | G053
| Wash Area | G055
AHU - 02 | Blending | G046
| Material Entry Blending | G044
| Men/Material Entry Blending/VTD | G045
AHU - 03 | Compression | G040
| Material Entry Compression | G039
| Men Entry Compression | G038
AHU - 04 | Coating 1 | G034
| Material Entry Coating 1 | G032
| Men Entry Coating 1 | G033
AHU - 05 | Oral Suspension Filing | G018
| Men/Material Entry Oral Suspension Filing | G017
AHU - 06 | Bister Packing | G016
| Men/Material Entry Bister Packing | G015
AHU - 07 | Capsule Filling | G023
| Material Entry Capsule Filling | G021
| Men Entry Capsule Filling | G022
AHU - 08 | Coating 2 | G037
| Material Entry Coating 2 | G036
| Men Entry Coating 2 | G035
AHU - 09 | Secondary change | G011
| Air Shower | G012
| Passage | G013
| Corridor 1.8M | G024
| Janitor Room | G027
| Tool Room | G031
| IPQC | G057
| Production office | G058
| Material Entry | G059
| Cleaned Bin Area | G049
| Bin wash Area | G050
| Uncleand Bin Area | G051
AHU - 10 | Finished Good Store | G062
| Packing Room -Track and Trace System | 224
| FG Out | G065
| M - AL | G063
| M - AL | G064
AHU - 11 | Dry Granulation | G030
| Material Entry Dry Granulation | G029
| Men Entry Dry Granulation | G028
AHU - 12 | Tablet Inspection | G042
| Men/Material Entry Tablet Inspection | G041
AHU - 13 | Empty Capsule Storage Area | G071
AHU - 14 | Sampling and Dispensing Area | 165
| Dispensed Material Hold Area | 164
| Material Entry | 166
| Man Entry | 167
| M - A/L | 163
AHU - 16 | Men/Material Entry | F006
| 2.0MTR Corridor | F002
| Granulation/Blending | F007`
| Dry Granulation | F008
| Compression | F009
| Coating | F010
| 1.7MTR Corridor | F011
| Capsule Filling | F012
AHU - 17 | Blister Packing | F014
| Men/Material Entry Blister Packing | F013
AHU - 18 | Secondary Packing | F016
AHU - 19 | Bulk packing | F015
AHU - 21 | WIP Area | G026
| Hold Area | G043
AHU - 22 | Secondary Packing | G061
AHU - 23 | VTD Service Area | G047
| VTD | G048
Other | 1.5M Corridor | G010
| Cap and Bung Store | 044A
| Corridor | C006